Benchmark Monitoring Plan & Visual Assessment Procedures Template
State of Michigan Industrial Storm Water Program

Water Resources Division
DEQ Environmental Assistance Center 800-662-9278

www.michigan.gov/deq

The intent of this compliance assistance document is to provide a template that permittees can use to develop a Benchmark Monitoring Plan and Visual Assessment Procedures that meet the conditions of the storm water permit associated with special use areas.  This document and other compliance assistance documents can be found at the DEQ, WRD Industrial Storm Water website www.mi.gov/deqstormwater (then click on INDUSTRIAL STORM WATER PROGRAM).

Section 1:  General Information

Facility Name:  ABC Auto Salvage

NPDES COC or Permit No. & Issuance Date:  MIS224466, 9/01/2018

Facility Contact Information (Name, Phone Number, Email):  Tom Larson, 248-946-1234

Document Submittal Date:  May 1, 2019

Section 2:  Description of the Site

- Check the type of industrial activity that applies:   Auto Salvage,  Metal Recycling,  Both

- Check the activity(s) that the facility engages in that generates metal particulates:   Cutting,  Shredding,  Grinding,  Smelting,  Other (Describe:       ), or  None

- Check the metal particulates that the facility handles:   Turnings,  Grinding Sludges / Fines,  Swarf,  Other (Describe:       ), or  None

- Specify the facility’s hours of operation:  8:00am - 5:00pm

- Describe how the storm water is discharged from the facility (e.g. storm sewer pipes, ditches, overland (sheet) flow, etc.):  driveway runoff, outlet pipe from retention pond, grassed swale

- What is the receiving waters listed on Certificate of Coverage (COC):  Wild River

Section 3:  Sample Collection, Frequency, and Handling

- List the discharge point(s) (as indicated on the SWPPP site map):  BML-1, BML-2, BML-3

- Is there substantially identical discharge points?  Yes   No (Only applicable for visual assessments not benchmark monitoring.  All discharge points will need to be monitored for 3 successive quarters to meet the benchmark monitoring requirements.)

If “Yes” then complete a) and b) below, if “No” go to Number 2.

- List the substantially identical discharge points:  NA

Note the following:

- The determination of substantially identical storm water discharge points is to be based on the significant material evaluation in the SWPPP and should be clearly documented.

- Visual assessments shall be conducted on a rotating basis of each substantially identical storm water discharge point through the period of coverage under the permit.

- Describe the sampling location for each discharge point (e.g. end of pipe, catch basin prior to discharge, etc.):  BML-1: driveway runoff; BML-2: pond outlet pipe; BML-3 grassed swale

- List the Industrial Storm Water Certified Operator(s) and / or Qualified Personnel that will collect the water sample(s):  Tom Larson (ISWO) will collect the samples

- Training for the Industrial Storm Water Certified Operator(s) and / or Qualified Personnel includes viewing the 3 Visual Assessment tutorials on the DEQ, WRD Industrial Storm Water webpage.  Check this box if true.

- If not describe the equivalent training implemented:

- Indicate how the Industrial Storm Water Certified Operator(s) and / or Qualified Personnel will collect the storm water samples (consistent with DEQ guidance):   auto sampler   grab from surface of discharge   grab from pipe discharge

- List the sampling equipment used for collecting the water sample(s) (e.g. rope and bucket, auto sampler, sampling pole, etc.):  Scoop and sample containers provided by the analytical laboratory

- Describe how each discharge point was evaluated to determine when a discharge (suitable for collecting a sample) would begin during a qualifying storm event (or snowmelt event):  We observed the discharge point at each BML location during storm events. Storm water discharges began to occur after about 0.2 inches of rainfall.

Note the following:

- A qualifying storm event means a storm event causing greater than 0.1 inch of rainfall and occurring at least 72 hours after the previous measurable storm event that also caused greater than 0.1 inch of rainfall

- Adverse conditions that would prohibit safe sampling conditions include local flooding, high winds, electrical storms, or situations that otherwise make sampling impractical such as drought or extended frozen conditions.  If sampling does not occur because of adverse conditions documentation including rationale will be filed with the SWPPP.

- Describe how the samples will be collected from multiple discharge points in order to collect all samples within 30 minutes after the start of the discharge (determine the timing sequence for water sample collection):

NA, only one discharge point

Yes, the site has multiple discharge points, describe:  Samples will be collected, in order, from BML-1, BML-2, and BML-3. All sites are easily accessible and no special equipment is needed.

- Identify the quarter and calendar year the Benchmark Monitoring will commence:  The benchmark monitoring will begin in the third quarter of 2019. Monitoring will continue until 3 successive quarters in which a qualifying storm event has occurred during our hours of operation.

Note the following:

- Visual Assessments are required every quarter in which a qualifying storm event occurs.

- Benchmark Monitoring is required for 3 successive quarters in which a qualifying storm event occurs.

- Visual Assessments and Benchmark Monitoring shall occur within one month of the comprehensive site inspection.

- Described how observations made by the Industrial Storm Water Certified Operator(s) and / or Qualified Personnel (at each discharge point) will be documented during the discharge:  The time of the discharge will be recordedand a color photo of the water sample will be taken. This information will be used to fill out the benchmark monitoring/visual assessment report form.

- Describe the sample storage procedures:  The collected samples for the visual assesment will be taken back to the office and assessed within one hour of sample collection by the certified operator. Samples that will be sent to the lab will be stored in a cooler with iceuntil shipped to the laboratory either the same day or next day.

Section 4:  Sample Analysis

- Describe the procedures the Industrial Storm Water Certified Operator will follow to perform the Visual Assessment(s) of the water sample(s):  The samples will be taken to the office and observed against a white background. A color photo of the sample against the white background will be taken.

- List the name of the Industrial Storm Water Certified Operator(s) that will be performing the water sample Visual Assessment(s):  Tom Larson

- Provide information regarding the laboratory performing the chemical analysis for the Benchmark Monitoring:  RTI Laboratories in Livonia will perform the laboratory analysis

- Indicate the receiving water hardness value from the COC:  263 mg/l for Wild River

- Use the table below to identify the applicable Benchmark Monitoring Parameters that are required by the general permit and list the Benchmark Values according to the hardness value indicated on the COC.  As a general rule the samples should be kept at approximately 4 degrees Celsius until delivered to the lab.

| Benchmark Monitoring Parameter | EPA Method | Quantification Level | Holding Time From Collection | Benchmark Values According to Hardness |
| --- | --- | --- | --- | --- |
| Total Suspended Solids | 160.2 | 10.0 mg/l | 7 Days | 100 mg/l |
| Chemical Oxygen Demand | 410.4 | 5.0 mg/l | 28 Days | NA |
| Total Copper | 200.8 | 1.0 ug/l | 180 Days | 96 ug/l |
| Total Lead | 200.8 | 1.0 ug/l | 180 Days | 3,700 ug/l |
| Total Zinc | 200.8 | 1.0 ug/l | 180 Days | 1,100 ug/l |

Section 5:  Data Evaluation & Documentation

- The DEQ, WRD Visual Assessment and Benchmark Monitoring Report Form should be used to document each water sample.  Check this box if the DEQ, WRD report form is used.

  - If the DEQ, WRD report form is not used the alternate form being used to meet this requirement must be included with this document.

- Colored photos shall be used to record the Visual Assessment and Benchmark Monitoring samples.  If other methods of recording observations will be used describe those methods:   NA or Describe:

- All Visual Assessment and Benchmark Monitoring documentation should be kept with the SWPPP file at the facility for at least 3 years.  If documentation will be kept off site, identify the location:   NA or Describe:

- Corrective actions if needed will be described on the DEQ, WRD Visual Assessment and Benchmark Monitoring Report Form.  If other methods will be used describe those methods:   NA or Describe:

The Benchmark Monitoring results will be evaluated as such:

- The first comparison will be made between each individual Benchmark Monitoring result and the Benchmark Monitoring Concentration.  If any single metal sample result is 3 times higher than the Benchmark Metal Concentration the following actions will be taken within 30 days of receiving the analytical results:

  - Review all controls and develop a schedule for implementing corrective actions

  - Submit a Benchmark Monitoring Report for review and approval to the department

  - Continue sampling once approval is received

- The second comparison will be made between the average of the 3 Benchmark Monitoring results and the Benchmark Monitoring concentration.

- If the average of 3 Benchmark Monitoring results does not exceed the Benchmark Concentration for that parameter the report will be submitted within 90 days of last sampling date.

- If the average of 3 Benchmark Monitoring results for any parameter exceeds the Benchmark Concentration for that parameter the report will be submitted within 90 days of last sampling date, then:

    - Control measures will be reviewed to see if modifications are required

    - Commence sampling 3 more quarters for only the parameters that exceeded the Benchmark Concentration

Section 6:  Reporting

- Approximate calendar quarter the Benchmark Monitoring will be completed:  2nd quarter of 2020

- Approximate calendar quarter the Benchmark Monitoring Report will be submitted to the department:  3rd quarter of 2021

The Benchmark Monitoring Report will include:

- All analytical results obtained during the course of the study, including actual quantification levels and any notations, and all sheets provided by the analyzing laboratory.  If an alternative hardness value obtained through sampling was used in the metals data evaluation, analytical results for hardness shall be provided, as well.

- For the qualifying storm event that is sampled, the report will provide:

  - A written record of the qualifying storm event’s date

  - A measurement or estimate of the rainfall

- The time (in days or hours) elapsed between the qualifying storm event sampled and the end-date of the previous qualifying storm event

- A summary of the data evaluation, including the hardness value used in the metals data evaluation;

- Written notification of any exceedances of Benchmark Concentrations

- A description of the response(s) made to the data evaluation, including any corrective actions considered necessary and a schedule for implementing them.

For information or assistance on this publication, please contact the Water Resources Division, through the DEQ Environmental Assistance Center at 800-662-9278. This publication is available in alternative formats upon request.

The Department of Environmental Quality (DEQ) will not discriminate against any individual or group on the basis of race, sex, religion, age, national origin, color, marital status, disability, political beliefs, height, weight, genetic information or sexual orientation. Questions or concerns should be directed to the Quality of Life Human Resources, P.O. Box 30473, Lansing, MI 48909-7973

This publication is intended for guidance only and may be impacted by changes in legislation, rules, policies, and procedures adopted after the date of publication.  Although this publication makes every effort to teach users how to meet applicable compliance obligations, use of this publication does not constitute the rendering of legal advice.